## Registered Tag List
Network Info | Tag Name | Value Type | Value | Historical | Query | Synchronous | Information
Internal | l21Source | Usigned int16 | 0 | Not Historical
Internal | l21SourceSelected | Boolean | 0 | Not Historical
Internal | l21CmbxSourceEnabled | Boolean | 0 | Not Historical
Internal | l21Target | Usigned int16 | 0 | Not Historical
Internal | l21TargetSelected | Boolean | 0 | Not Historical
Internal | l21CmbxTargetEnabled | Boolean | 0 | Not Historical
Internal | l21BtnSaveSourceTargetEnabled | Boolean | 0 | Not Historical
Internal | L21_MODO | Usigned int16 | 0 | Not Historical
Internal | L21_MODO_AUTO | Usigned int16 | 5 | Not Historical
Internal | L21_MODO_MANUAL | Usigned int16 | 8 | Not Historical
Internal | L21_MODO_RESET | Usigned int16 | 4 | Not Historical
Internal | L21_MODO_INICIO | Usigned int16 | 0 | Not Historical
Internal | L21_MODO_TRANS_INICIO_RESET | Usigned int16 | 2 | Not Historical
Internal | L21_MODO_TRANS_RESET_INICIO | Usigned int16 | 3 | Not Historical
Internal | L21_MODO_TRANS_RESET_AUTO | Usigned int16 | 7 | Not Historical
Internal | L21_MODO_TRANS_AUTO_RESET | Usigned int16 | 6 | Not Historical
Internal | L21_MODO_TRANS_RESET_MANUAL | Usigned int16 | 10 | Not Historical
Internal | L21_MODO_TRANS_MANUAL_RESET | Usigned int16 | 9 | Not Historical
Internal | L21_SILO_21_MIN | Usigned int32 | 0 | Not Historical
Internal | L21_SILO_21_MAX | Usigned int32 | 100000 | Not Historical
Internal | L21_SILO_22_MIN | Usigned int32 | 0 | Not Historical
Internal | L21_SILO_22_MAX | Usigned int32 | 100000 | Not Historical
Internal | L21_SILO_34_MIN | Usigned int32 | 0 | Not Historical
Internal | L21_SILO_34_MAX | Usigned int32 | 100000 | Not Historical
Internal | L21_CANTIDAD | Usigned int32 | 0 | Not Historical
Internal | l21TxtCantidad | Usigned int32 | 0 | Not Historical
Internal | l21NuevaVar | Usigned int32 | 123456 | Not Historical

## Opc Client
Server Name | Subscription | Item Name | Tag Name | Value Type | Value

## S7 300-400 Mpi
Network Name | Network Info | Network Properties | Station | Group | Cycle | Address | Tag Name | Value Type | Value

## S7-200 Ppi
Network Name | Network Info | Network Properties | Station | Group | Cycle | Address | Tag Name | Value Type | Value

## Modbus Rtu-Tcp Master
Network Name | Network Info | Network Properties | Station | Group | Cycle | Address | Tag Name | Value Type | Value

## Modbus Rtu Slave
Network Name | Network Info | Network Properties | Register Table | Address | Tag Name | Value Type | Value

## Profinet
Network Name | Network Info | Network Properties | Group | Cycle | Address | Tag Name | Value Type | Value

## Hostlink
Network Name | Network Info | Network Properties | Station | Group | Cycle | Address | Tag Name | Value Type | Value

## Mewtocol
Network Name | Network Info | Network Properties | Station | Group | Cycle | Address | Tag Name | Value Type | Value