## Registered Tag List
Network Info | Tag Name | Value Type | Value | Historical | Query | Synchronous | Information
Profinet / 1 | CT1_START | Boolean | 0 | Not Historical
Profinet / 1 | CT1_STOP | Boolean | 0 | Not Historical
Profinet / 1 | CT1_CONF_START | Boolean | 0 | Not Historical
Profinet / 1 | CT1_CONF_STOP | Boolean | 0 | Not Historical
Profinet / 1 | CT2_START | Boolean | 0 | Not Historical
Profinet / 1 | CT2_STOP | Boolean | 0 | Not Historical
Profinet / 1 | CT2_CONF_START | Boolean | 0 | Not Historical
Profinet / 1 | CT2_CONF_STOP | Boolean | 0 | Not Historical
Profinet / 1 | CT3_START | Boolean | 0 | Not Historical
Profinet / 1 | CT3_STOP | Boolean | 0 | Not Historical
Profinet / 1 | CT3_CONF_START | Boolean | 0 | Not Historical
Profinet / 1 | L21_MODO_CONFIGURACION | Boolean | 0 | Not Historical
Profinet / 1 | L21_MODO_AUTOMATICO | Boolean | 0 | Not Historical
Profinet / 1 | L21_MODO_MANUA | Boolean | 0 | Not Historical
Profinet / 1 | L21_LIBERAR_AUTO_MAN | Boolean | 0 | Not Historical
Profinet / 1 | L21_RESET | Boolean | 0 | Not Historical
Profinet / 1 | L21_PUESTA_EN_MARCHA | Boolean | 0 | Not Historical
Profinet / 1 | L21_ORG11_DES21 | Boolean | 0 | Not Historical
Profinet / 1 | L21_ORG11_DES22 | Boolean | 0 | Not Historical
Profinet / 1 | L21_ORG11_DES31 | Boolean | 0 | Not Historical
Profinet / 1 | L21_ORG12_DES21 | Boolean | 0 | Not Historical
Profinet / 1 | L21_ORG12_DES22 | Boolean | 0 | Not Historical
Profinet / 1 | L21_ORG12_DES31 | Boolean | 0 | Not Historical
Profinet / 1 | L21_ORG13_DES21 | Boolean | 0 | Not Historical
Profinet / 1 | L21_ORG13_DES22 | Boolean | 0 | Not Historical
Profinet / 1 | L21_ORG13_DES31 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SALVAR_ORG_DES | Boolean | 0 | Not Historical
Profinet / 1 | L21_CANCEL_ORG_DES | Boolean | 0 | Not Historical
Profinet / 1 | L21_INICIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_PARADA | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONTINUAR | Boolean | 0 | Not Historical
Profinet / 1 | L21_PARADA_INMEDIATA | Boolean | 0 | Not Historical
Profinet / 1 | L21_PROXIMO_SILO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ACT_BYPASS | Boolean | 0 | Not Historical
Profinet / 1 | L21_DES_BYPASS | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCARGAR_BALANZA | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_MODO_CONFIGURACION | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_MODO_AUTOMATICO | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_MODO_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_LIBERAR_AUTO_MAN | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_RESET | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_PUESTA_EN_MARCHA | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG11_DES21 | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG11_DES22 | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG11_DES31 | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG12_DES21 | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG12_DES22 | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG12_DES31 | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG13_DES21 | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG13_DES22 | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG13_DES31 | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG11_CANTIDAD | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG12_CANTIDAD | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ORG13_CANTIDAD | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_SALVAR_ORG_DES | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_CANCEL_ORG_DES | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_INICIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_PARADA | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_CONTINUAR | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_PARADA_INMEDIATA | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_PROXIMO_SILO | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_ACT_BYPASS | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_DES_BYPASS | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_DESCARGAR_BALANZA | Boolean | 0 | Not Historical
Profinet / 1 | L21_CONF_CONFIG_HUMEDAD | Boolean | 0 | Not Historical
Profinet / 1 | L21_TRANS_CADENA_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TRANS_CADENA_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TRANS_CADENA_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TRANS_CADENA_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_TRANS_CADENA_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E1_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E1_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E1_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E1_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E1_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E2_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E2_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E2_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E2_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E2_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT1_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT1_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT1_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT1_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT1_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT2_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT2_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT2_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT2_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT2_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_EXTRACTOR_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_EXTRACTOR_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_EXTRACTOR_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_EXTRACTOR_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_EXTRACTOR_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VENTILADOR_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VENTILADOR_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VENTILADOR_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VENTILADOR_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VENTILADOR_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT1_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT1_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT1_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT1_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT1_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT2_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT2_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT2_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT2_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT2_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_EXTRACTOR_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_EXTRACTOR_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_EXTRACTOR_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_EXTRACTOR_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_EXTRACTOR_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VENTILADOR_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VENTILADOR_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VENTILADOR_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VENTILADOR_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VENTILADOR_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR1_MOT1_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR1_MOT1_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR1_MOT1_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR1_MOT1_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR1_MOT1_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR1_MOT2_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR1_MOT2_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR1_MOT2_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR1_MOT2_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR1_MOT2_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR2_MOT1_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR2_MOT1_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR2_MOT1_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR2_MOT1_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR2_MOT1_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR2_MOT2_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR2_MOT2_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR2_MOT2_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR2_MOT2_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHINADOR2_MOT2_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_ESCLUSA_ROT_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ESCLUSA_ROT_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ESCLUSA_ROT_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ESCLUSA_ROT_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_ESCLUSA_ROT_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_VENTILADOR_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_VENTILADOR_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_VENTILADOR_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_VENTILADOR_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_VENTILADOR_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E3_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E3_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E3_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E3_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_ELEVADOR_E3_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC1_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC1_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC1_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC1_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC1_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_MOZL_ROCIADOR_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_MOZL_ROCIADOR_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_MOZL_ROCIADOR_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_MOZL_ROCIADOR_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_MOZL_ROCIADOR_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC2_CONF_PARO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC2_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC2_CONF_FUNCIONANDO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC2_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC2_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO11_RASERA_SALIDA_CONF_P0 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO11_RASERA_SALIDA_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO11_RASERA_SALIDA_CONF_P1 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO11_RASERA_SALIDA_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO11_RASERA_SALIDA_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO12_RASERA_SALIDA_CONF_P0 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO12_RASERA_SALIDA_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO12_RASERA_SALIDA_CONF_P1 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO12_RASERA_SALIDA_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO12_RASERA_SALIDA_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO13_RASERA_SALIDA_CONF_P0 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO13_RASERA_SALIDA_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO13_RASERA_SALIDA_CONF_P1 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO13_RASERA_SALIDA_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO13_RASERA_SALIDA_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VALV_REJILLA_CONF_P0 | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VALV_REJILLA_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VALV_REJILLA_CONF_P1 | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VALV_REJILLA_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VALV_REJILLA_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VALV_REJILLA_CONF_P0 | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VALV_REJILLA_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VALV_REJILLA_CONF_P1 | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VALV_REJILLA_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VALV_REJILLA_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_VALV_DESVIO_PREREPOSO_CONF_P0 | Boolean | 0 | Not Historical
Profinet / 1 | L21_VALV_DESVIO_PREREPOSO_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_VALV_DESVIO_PREREPOSO_CONF_P1 | Boolean | 0 | Not Historical
Profinet / 1 | L21_VALV_DESVIO_PREREPOSO_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_VALV_DESVIO_PREREPOSO_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_VALV_DESVIO_SILO31_CONF_P0 | Boolean | 0 | Not Historical
Profinet / 1 | L21_VALV_DESVIO_SILO31_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_VALV_DESVIO_SILO31_CONF_P1 | Boolean | 0 | Not Historical
Profinet / 1 | L21_VALV_DESVIO_SILO31_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_VALV_DESVIO_SILO31_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_RASERA_ENTRADA_CONF_P0 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_RASERA_ENTRADA_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_RASERA_ENTRADA_CONF_P1 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_RASERA_ENTRADA_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_RASERA_ENTRADA_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_RASERA_ENTRADA_CONF_P0 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_RASERA_ENTRADA_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_RASERA_ENTRADA_CONF_P1 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_RASERA_ENTRADA_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_RASERA_ENTRADA_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO31_RASERA_ENTRADA_CONF_P0 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO31_RASERA_ENTRADA_CONF_CAMBIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO31_RASERA_ENTRADA_CONF_P1 | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO31_RASERA_ENTRADA_CONF_MANUAL | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO31_RASERA_ENTRADA_CONF_FALLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO11_CONF_SENSOR_NIVEL_BAJO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO11_CONF_SENSOR_NIVEL_ALTO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO11_CONF_COMPUERTA_ABRIR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO11_CONF_COMPUERTA_CERRADA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO12_CONF_SENSOR_NIVEL_BAJO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO12_CONF_SENSOR_NIVEL_ALTO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO12_CONF_COMPUERTA_ABRIR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO12_CONF_COMPUERTA_CERRADA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO13_CONF_SENSOR_NIVEL_BAJO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO13_CONF_SENSOR_NIVEL_ALTO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO13_CONF_COMPUERTA_ABRIR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO13_CONF_COMPUERTA_CERRADA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_CONF_SENSOR_NIVEL_ALTO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_CONF_SENSOR_NIVEL_MEDIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_CONF_SENSOR_NIVEL_BAJO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_RAS_ENTRADA_CONF_ABRIR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_RAS_ENTRADA_CONF_ABIERTA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_RAS_ENTRADA_CONF_CERRAR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO21_RAS_ENTRADA_CONF_CERRADA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_CONF_SENSOR_NIVEL_ALTO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_CONF_SENSOR_NIVEL_MEDIO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_CONF_SENSOR_NIVEL_BAJO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_RAS_ENTRADA_CONF_ABRIR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_RAS_ENTRADA_CONF_ABIERTA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_RAS_ENTRADA_CONF_CERRAR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SILO22_RAS_ENTRADA_CONF_CERRADA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TRANS_CADENA_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_TRANS_CADENA_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TRANS_CADENA_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_TRANS_CADENA_CONF_SENSOR_ATASQUE | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT1_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT1_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT1_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT2_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT2_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP1_MOT2_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT1_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT1_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT1_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT2_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT2_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SEP2_MOT2_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN1_MOT1_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN1_MOT1_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN1_MOT1_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN1_MOT2_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN1_MOT2_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN1_MOT2_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN2_MOT1_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN2_MOT1_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN2_MOT1_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN2_MOT2_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN2_MOT2_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESCHIN2_MOT2_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_EXTRACTOR_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_EXTRACTOR_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_EXTRACTOR_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VENTILADOR_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VENTILADOR_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_VENTILADOR_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR1_CONF_VALV_REJILLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_EXTRACTOR_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_EXTRACTOR_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_EXTRACTOR_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VENTILADOR_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VENTILADOR_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_VENTILADOR_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_TAR2_CONF_VALV_REJILLA | Boolean | 0 | Not Historical
Profinet / 1 | L21_PREDEPO_BALANZA_CONF_NIVEL_BAJO | Boolean | 0 | Not Historical
Profinet / 1 | L21_PREDEPO_BALANZA_CONF_NIVEL_ALTO | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC1_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC1_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC1_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC1_CONF_SENSOR_ATASQUE | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC2_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC2_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC2_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC2_CONF_SENSOR_ATASQUE | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC3_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC3_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC3_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_SC3_CONF_SENSOR_ATASQUE | Boolean | 0 | Not Historical
Profinet / 1 | L21_MOZL_ROCIADOR_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_MOZL_ROCIADOR_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_MOZL_ROCIADOR_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_MOZL_CONF_DETECTOR_FLUJO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ASPIRACION_FILTRO_CONF_ABIERTO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ASPIRACION_FILTRO_CONF_ABRIR | Boolean | 0 | Not Historical
Profinet / 1 | L21_ASPIRACION_ESCLUSA_ROT_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_ASPIRACION_ESCLUSA_ROT_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_ASPIRACION_ESCLUSA_ROT_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_ASPIRACION_VENTILADOR_CONF_RETORNO_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_ASPIRACION_VENTILADOR_CONF_PROTECCION_TERMICA | Boolean | 0 | Not Historical
Profinet / 1 | L21_ASPIRACION_VENTILADOR_CONF_SALIDA_CONTACTOR | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESVIO_SILO31_CONF_ABRIR | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESVIO_SILO31_CONF_ABIERTO | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESVIO_PREREPOSO_CONF_ABRIR | Boolean | 0 | Not Historical
Profinet / 1 | L21_DESVIO_PREREPOSO_CONF_ABIERTO | Boolean | 0 | Not Historical
Profinet / 1 | L21_ORG11_CANTIDAD | Usigned int16 | 0 | Not Historical
Profinet / 1 | L21_ORG12_CANTIDAD | Usigned int16 | 0 | Not Historical
Profinet / 1 | L21_ORG13_CANTIDAD | Usigned int16 | 0 | Not Historical
Profinet / 1 | L21_HUMEDAD_DESEADA | Usigned int16 | 0 | Not Historical
Profinet / 1 | L21_HUMEDAD_ACTUAL | Usigned int16 | 0 | Not Historical
Profinet / 1 | L21_FLUJO_DE_AGUA | Usigned int16 | 0 | Not Historical
Profinet / 1 | L21_TOTAL_AGUA_DOSIFICADA | Usigned int16 | 0 | Not Historical
Profinet / 1 | L21_BASCULA_CANT_TRIGO_PESADO | Usigned int16 | 0 | Not Historical
Profinet / 1 | L21_MYFC_CANTIDAD_HUMEDAD | Usigned int16 | 0 | Not Historical
Profinet / 1 | L21_MOZF_CANTIDAD_AGUA | Usigned int16 | 0 | Not Historical
Internal | l21Source | Usigned int16 | 0 | Not Historical
Internal | l21SourceSelected | Boolean | 0 | Not Historical
Internal | l21CmbxSourceEnabled | Boolean | 0 | Not Historical
Internal | l21Target | Usigned int16 | 0 | Not Historical
Internal | l21TargetSelected | Boolean | 0 | Not Historical
Internal | l21CmbxTargetEnabled | Boolean | 0 | Not Historical
Internal | l21BtnSaveSourceTargetEnabled | Boolean | 0 | Not Historical
Internal | L21_MODO | Usigned int16 | 0 | Not Historical |  |  | modo actual de la linea 21
Internal | L21_MODO_AUTO | Usigned int16 | 5 | Not Historical |  |  | valor del modo automatico de la linea 21
Internal | L21_MODO_MANUAL | Usigned int16 | 8 | Not Historical |  |  | valor del modo manual de la linea 21
Internal | L21_MODO_RESET | Usigned int16 | 4 | Not Historical |  |  | valor del modo reset de la linea 21
Internal | L21_MODO_INICIO | Usigned int16 | 0 | Not Historical |  |  | valor del modo inicio de la linea 21
Internal | L21_MODO_TRANS_INICIO_RESET | Usigned int16 | 2 | Not Historical |  |  | valor del modo transicion inicio-reset de la linea 21
Internal | L21_MODO_TRANS_RESET_INICIO | Usigned int16 | 3 | Not Historical |  |  | valor del modo transicion reset-incio de la linea 21
Internal | L21_MODO_TRANS_RESET_AUTO | Usigned int16 | 7 | Not Historical |  |  | valor del modo transicion reset-auto de la linea 21
Internal | L21_MODO_TRANS_AUTO_RESET | Usigned int16 | 6 | Not Historical |  |  | valor del modo transicion auto-reset de la linea 21
Internal | L21_MODO_TRANS_RESET_MANUAL | Usigned int16 | 10 | Not Historical |  |  | valor del modo transicion reset-manual de la linea 21
Internal | L21_MODO_TRANS_MANUAL_RESET | Usigned int16 | 9 | Not Historical |  |  | valor del modo transicion manual-reset de la linea 21
Internal | L21_SILO_21_MIN | Usigned int32 | 0 | Not Historical |  |  | minimo valor de trigo en l silo 21
Internal | L21_SILO_21_MAX | Usigned int32 | 100000 | Not Historical |  |  | maximo valor de trigo en el silo 21
Internal | L21_SILO_22_MIN | Usigned int32 | 0 | Not Historical |  |  | minimo valor de trgo en el silo 22
Internal | L21_SILO_22_MAX | Usigned int32 | 100000 | Not Historical |  |  | maximo valor de trigo en el silo 22
Internal | L21_SILO_34_MIN | Usigned int32 | 0 | Not Historical |  |  | minimo valor de trigo en el silo 34
Internal | L21_SILO_34_MAX | Usigned int32 | 100000 | Not Historical |  |  | maximo vaor de trigo en el silo 34
Internal | L21_CANTIDAD_DESTINO | Usigned int16 | 0 | Not Historical |  |  | valor a tranferir en el silo de destino de la linea 21
Internal | L21_TIEMPO_VACIADO | Usigned int16 | 10 | Not Historical |  |  | tiempo de vaciado para la linea 21
Internal | L21_TIEMPO_BYPASS | Usigned int16 | 10 | Not Historical |  |  | timepo de bypass para la linea 21
Internal | L21_PUESTA_EN_MARCHA_COMPLEATA | Boolean | 0 | Not Historical |  |  | flag de puesta en marcha linea 21 completa
Internal | l21TxtTiempoVaciado | Usigned int16 | 10 | Not Historical |  |  | valor textbox tiempo de vaciado en puesta en marcha linea 21
Internal | l21TxtTiempoByPass | Usigned int16 | 10 | Not Historical |  |  | valor textbox tiempo de bypass en puesta en marcha linea 21
Internal | L21_MIN_TIEMPO_VACIADO | Usigned int16 | 5 | Not Historical |  |  | minimo tiempo de vaciado/limpieaza para la linea 21
Internal | L21_MIN_TIEMPO_BYPASS | Usigned int16 | 10 | Not Historical |  |  | minimo tiempo de bypass para la linea 21
Internal | l21FrmPuestaEnMarchaEvent | Usigned int16 | 0 | Not Historical |  |  | variable para enviar señales al controlador de l21PuestaEnMarch
Internal | l21FrmPrimeraLineaEvent | Usigned int16 | 0 | Not Historical |  |  | almacena el evento a ejecutar en l21PrimeraLimpia
Internal | l21BtnPuestaEnMarchaEnabled | Boolean | 1 | Not Historical |  |  | activa o desactiva el boton de puesta en marcha de la L21
Internal | l21BtnResetEnabled | Boolean | 1 | Not Historical |  |  | activa o desactiva el boton de RESET en L21
Internal | l21BtnManualEnabled | Boolean | 0 | Not Historical |  |  | activa o desactiva el boton de MANUAL en L21
Internal | l21BtnAutomaticoEnabled | Boolean | 0 | Not Historical |  |  | activa o desactiva el boton de AUTOMATICO en L21
Internal | l21BtnLiberarAutManEnabled | Boolean | 1 | Not Historical |  |  | activa o desactiva el boton de LIBERAR AUTO/MAN
Internal | l21BtnInicioEnabled | Boolean | 0 | Not Historical |  |  | activa o desactiva el boton de INICION en L21
Internal | l21BtnTerminarEnabled | Boolean | 0 | Not Historical |  |  | activa o desactiva el boton de TERMINAR en L21
Internal | l21BtnParadaEnabled | Boolean | 0 | Not Historical |  |  | activa o desactiva el boton de PARADA en L21
Internal | l21BtnParadaInmediataEnabled | Boolean | 0 | Not Historical |  |  | activa o desactiva el boton de PARADA INMEDIATA en L21
Internal | l21BtnContinuarEnabled | Boolean | 0 | Not Historical |  |  | activa o desactiva el boton de CONTINUAR en L21
Internal | l21BtnProximoSiloEnabled | Boolean | 0 | Not Historical |  |  | activa o desactiva el boton de PROXIMO SILO en L21
Internal | l21BtnActivarBypassEnabled | Boolean | 0 | Not Historical |  |  | activa o desactiva el boton de ACTIVAR BYPASS en L21
Internal | l21BtnDesactivarBypassEnabled | Boolean | 0 | Not Historical |  |  | activa o desactiva el boton de DESACTIVAR BYPASS en L21
Internal | l21CmbxOrigenEnabled | Boolean | 1 | Not Historical |  |  | activa o desactiva el combobox de Origen en L21
Internal | l21CmbxOrigenValue | Usigned int16 | 1 | Not Historical |  |  | valor seleccionado en combobox de Origen en L21
Internal | l21CmbxDestinoEnabled | Boolean | 1 | Not Historical |  |  | activa o desactiva el combobox de Destino en L21
Internal | l21CmbxDestinoValue | Usigned int16 | 1 | Not Historical |  |  | valor seleccionado en combobox de Destino en L21
Internal | l21BtnSalvarOrigenDestinoEnabled | Boolean | 1 | Not Historical |  |  | activa o desactiva el boton de SALVAR en L21
Internal | l21BtnCancelarOrigenDestinoEnabled | Boolean | 1 | Not Historical |  |  | activa o desactiva el boton de SALVAR en L21
Internal | l21TxtCantidadOrigenDestino | Usigned int32 | 13213 | Not Historical |  |  | valor del textbox Cantidad en L21
Internal | l21TxtCantidadOrgDesEnabled | Boolean | 1 | Not Historical |  |  | activa o desactiva textbox Cantidad en L21

## Opc Client
Server Name | Subscription | Item Name | Tag Name | Value Type | Value

## S7 300-400 Mpi
Network Name | Network Info | Network Properties | Station | Group | Cycle | Address | Tag Name | Value Type | Value

## S7-200 Ppi
Network Name | Network Info | Network Properties | Station | Group | Cycle | Address | Tag Name | Value Type | Value

## Modbus Rtu-Tcp Master
Network Name | Network Info | Network Properties | Station | Group | Cycle | Address | Tag Name | Value Type | Value

## Modbus Rtu Slave
Network Name | Network Info | Network Properties | Register Table | Address | Tag Name | Value Type | Value

## Profinet
Network Name | Network Info | Network Properties | Group | Cycle | Address | Tag Name | Value Type | Value
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 0.0 | CT1_START | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 0.1 | CT1_STOP | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 0.2 | CT1_CONF_START | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 0.3 | CT1_CONF_STOP | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 0.4 | CT2_START | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 0.5 | CT2_STOP | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 0.6 | CT2_CONF_START | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 0.7 | CT2_CONF_STOP | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 0.0 | CT3_START | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 1.1 | CT3_STOP | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 1.2 | CT3_CONF_START | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 1.3 | L21_MODO_CONFIGURACION | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 1.4 | L21_MODO_AUTOMATICO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 1.5 | L21_MODO_MANUA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 1.6 | L21_LIBERAR_AUTO_MAN | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 1.7 | L21_RESET | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 2.0 | L21_PUESTA_EN_MARCHA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 2.1 | L21_ORG11_DES21 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 2.2 | L21_ORG11_DES22 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 2.3 | L21_ORG11_DES31 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 2.4 | L21_ORG12_DES21 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 2.5 | L21_ORG12_DES22 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 2.6 | L21_ORG12_DES31 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 2.7 | L21_ORG13_DES21 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 3.0 | L21_ORG13_DES22 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 3.1 | L21_ORG13_DES31 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 3.2 | L21_SALVAR_ORG_DES | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 3.3 | L21_CANCEL_ORG_DES | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 3.4 | L21_INICIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 3.5 | L21_PARADA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 3.6 | L21_CONTINUAR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 3.7 | L21_PARADA_INMEDIATA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 4.0 | L21_PROXIMO_SILO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 4.1 | L21_ACT_BYPASS | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 4.2 | L21_DES_BYPASS | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 4.4 | L21_DESCARGAR_BALANZA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 4.5 | L21_CONF_MODO_CONFIGURACION | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 4.6 | L21_CONF_MODO_AUTOMATICO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 4.7 | L21_CONF_MODO_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 5.0 | L21_CONF_LIBERAR_AUTO_MAN | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 5.1 | L21_CONF_RESET | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 5.2 | L21_CONF_PUESTA_EN_MARCHA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 5.3 | L21_CONF_ORG11_DES21 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 5.4 | L21_CONF_ORG11_DES22 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 5.5 | L21_CONF_ORG11_DES31 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 5.6 | L21_CONF_ORG12_DES21 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 5.7 | L21_CONF_ORG12_DES22 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 6.0 | L21_CONF_ORG12_DES31 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 6.1 | L21_CONF_ORG13_DES21 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 6.2 | L21_CONF_ORG13_DES22 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 6.3 | L21_CONF_ORG13_DES31 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 6.4 | L21_CONF_ORG11_CANTIDAD | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 6.5 | L21_CONF_ORG12_CANTIDAD | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 6.6 | L21_CONF_ORG13_CANTIDAD | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 6.7 | L21_CONF_SALVAR_ORG_DES | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 7.0 | L21_CONF_CANCEL_ORG_DES | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 7.1 | L21_CONF_INICIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 7.2 | L21_CONF_PARADA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 7.3 | L21_CONF_CONTINUAR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 7.4 | L21_CONF_PARADA_INMEDIATA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 7.5 | L21_CONF_PROXIMO_SILO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 7.6 | L21_CONF_ACT_BYPASS | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 7.7 | L21_CONF_DES_BYPASS | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 8.0 | L21_CONF_DESCARGAR_BALANZA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 8.1 | L21_CONF_CONFIG_HUMEDAD | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 8.2 | L21_TRANS_CADENA_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 8.3 | L21_TRANS_CADENA_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 8.4 | L21_TRANS_CADENA_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 8.5 | L21_TRANS_CADENA_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 8.6 | L21_TRANS_CADENA_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 8.7 | L21_ELEVADOR_E1_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 9.0 | L21_ELEVADOR_E1_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 9.1 | L21_ELEVADOR_E1_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 9.2 | L21_ELEVADOR_E1_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 9.3 | L21_ELEVADOR_E1_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 9.4 | L21_ELEVADOR_E2_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 9.5 | L21_ELEVADOR_E2_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 9.6 | L21_ELEVADOR_E2_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 9.7 | L21_ELEVADOR_E2_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 10.0 | L21_ELEVADOR_E2_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 10.1 | L21_SEP1_MOT1_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 10.2 | L21_SEP1_MOT1_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 10.3 | L21_SEP1_MOT1_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 10.4 | L21_SEP1_MOT1_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 10.5 | L21_SEP1_MOT1_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 10.6 | L21_SEP1_MOT2_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 10.7 | L21_SEP1_MOT2_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 11.0 | L21_SEP1_MOT2_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 11.1 | L21_SEP1_MOT2_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 11.2 | L21_SEP1_MOT2_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 11.3 | L21_TAR1_EXTRACTOR_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 11.4 | L21_TAR1_EXTRACTOR_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 11.5 | L21_TAR1_EXTRACTOR_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 11.6 | L21_TAR1_EXTRACTOR_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 11.7 | L21_TAR1_EXTRACTOR_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 12.0 | L21_TAR1_VENTILADOR_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 12.1 | L21_TAR1_VENTILADOR_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 12.2 | L21_TAR1_VENTILADOR_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 12.3 | L21_TAR1_VENTILADOR_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 12.4 | L21_TAR1_VENTILADOR_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 12.5 | L21_SEP2_MOT1_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 12.6 | L21_SEP2_MOT1_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 12.7 | L21_SEP2_MOT1_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 13.0 | L21_SEP2_MOT1_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 13.1 | L21_SEP2_MOT1_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 13.2 | L21_SEP2_MOT2_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 13.3 | L21_SEP2_MOT2_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 13.4 | L21_SEP2_MOT2_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 13.5 | L21_SEP2_MOT2_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 13.6 | L21_SEP2_MOT2_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 13.7 | L21_TAR2_EXTRACTOR_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 14.0 | L21_TAR2_EXTRACTOR_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 14.1 | L21_TAR2_EXTRACTOR_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 14.2 | L21_TAR2_EXTRACTOR_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 14.3 | L21_TAR2_EXTRACTOR_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 14.4 | L21_TAR2_VENTILADOR_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 14.5 | L21_TAR2_VENTILADOR_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 14.6 | L21_TAR2_VENTILADOR_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 14.7 | L21_TAR2_VENTILADOR_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 15.0 | L21_TAR2_VENTILADOR_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 15.1 | L21_DESCHINADOR1_MOT1_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 15.2 | L21_DESCHINADOR1_MOT1_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 15.3 | L21_DESCHINADOR1_MOT1_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 15.4 | L21_DESCHINADOR1_MOT1_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 15.5 | L21_DESCHINADOR1_MOT1_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 15.6 | L21_DESCHINADOR1_MOT2_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 15.7 | L21_DESCHINADOR1_MOT2_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 16.0 | L21_DESCHINADOR1_MOT2_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 16.1 | L21_DESCHINADOR1_MOT2_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 16.2 | L21_DESCHINADOR1_MOT2_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 16.3 | L21_DESCHINADOR2_MOT1_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 16.4 | L21_DESCHINADOR2_MOT1_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 16.5 | L21_DESCHINADOR2_MOT1_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 16.6 | L21_DESCHINADOR2_MOT1_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 16.7 | L21_DESCHINADOR2_MOT1_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 17.0 | L21_DESCHINADOR2_MOT2_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 17.1 | L21_DESCHINADOR2_MOT2_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 17.2 | L21_DESCHINADOR2_MOT2_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 17.3 | L21_DESCHINADOR2_MOT2_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 17.4 | L21_DESCHINADOR2_MOT2_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 17.5 | L21_ESCLUSA_ROT_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 17.6 | L21_ESCLUSA_ROT_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 17.7 | L21_ESCLUSA_ROT_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 18.0 | L21_ESCLUSA_ROT_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 18.1 | L21_ESCLUSA_ROT_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 18.2 | L21_VENTILADOR_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 18.3 | L21_VENTILADOR_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 18.4 | L21_VENTILADOR_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 18.5 | L21_VENTILADOR_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 18.6 | L21_VENTILADOR_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 18.7 | L21_ELEVADOR_E3_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 19.0 | L21_ELEVADOR_E3_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 19.1 | L21_ELEVADOR_E3_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 19.2 | L21_ELEVADOR_E3_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 19.3 | L21_ELEVADOR_E3_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 19.4 | L21_SC1_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 19.5 | L21_SC1_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 19.6 | L21_SC1_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 19.7 | L21_SC1_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 20.0 | L21_SC1_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 20.1 | L21_MOZL_ROCIADOR_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 20.2 | L21_MOZL_ROCIADOR_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 20.3 | L21_MOZL_ROCIADOR_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 20.4 | L21_MOZL_ROCIADOR_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 20.5 | L21_MOZL_ROCIADOR_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 20.6 | L21_SC2_CONF_PARO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 20.7 | L21_SC2_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 21.0 | L21_SC2_CONF_FUNCIONANDO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 21.1 | L21_SC2_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 21.2 | L21_SC2_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 21.3 | L21_SILO11_RASERA_SALIDA_CONF_P0 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 21.4 | L21_SILO11_RASERA_SALIDA_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 21.5 | L21_SILO11_RASERA_SALIDA_CONF_P1 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 21.6 | L21_SILO11_RASERA_SALIDA_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 21.7 | L21_SILO11_RASERA_SALIDA_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 22.0 | L21_SILO12_RASERA_SALIDA_CONF_P0 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 22.1 | L21_SILO12_RASERA_SALIDA_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 22.2 | L21_SILO12_RASERA_SALIDA_CONF_P1 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 22.3 | L21_SILO12_RASERA_SALIDA_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 22.4 | L21_SILO12_RASERA_SALIDA_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 22.5 | L21_SILO13_RASERA_SALIDA_CONF_P0 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 22.6 | L21_SILO13_RASERA_SALIDA_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 22.7 | L21_SILO13_RASERA_SALIDA_CONF_P1 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 23.0 | L21_SILO13_RASERA_SALIDA_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 23.1 | L21_SILO13_RASERA_SALIDA_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 23.2 | L21_TAR1_VALV_REJILLA_CONF_P0 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 23.3 | L21_TAR1_VALV_REJILLA_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 23.4 | L21_TAR1_VALV_REJILLA_CONF_P1 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 23.5 | L21_TAR1_VALV_REJILLA_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 23.6 | L21_TAR1_VALV_REJILLA_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 23.7 | L21_TAR2_VALV_REJILLA_CONF_P0 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 24.0 | L21_TAR2_VALV_REJILLA_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 24.1 | L21_TAR2_VALV_REJILLA_CONF_P1 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 24.2 | L21_TAR2_VALV_REJILLA_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 24.3 | L21_TAR2_VALV_REJILLA_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 24.4 | L21_VALV_DESVIO_PREREPOSO_CONF_P0 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 24.5 | L21_VALV_DESVIO_PREREPOSO_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 24.6 | L21_VALV_DESVIO_PREREPOSO_CONF_P1 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 24.7 | L21_VALV_DESVIO_PREREPOSO_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 25.0 | L21_VALV_DESVIO_PREREPOSO_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 25.1 | L21_VALV_DESVIO_SILO31_CONF_P0 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 25.2 | L21_VALV_DESVIO_SILO31_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 25.3 | L21_VALV_DESVIO_SILO31_CONF_P1 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 25.4 | L21_VALV_DESVIO_SILO31_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 25.5 | L21_VALV_DESVIO_SILO31_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 25.6 | L21_SILO21_RASERA_ENTRADA_CONF_P0 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 25.7 | L21_SILO21_RASERA_ENTRADA_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 26.0 | L21_SILO21_RASERA_ENTRADA_CONF_P1 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 26.1 | L21_SILO21_RASERA_ENTRADA_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 26.2 | L21_SILO21_RASERA_ENTRADA_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 26.3 | L21_SILO22_RASERA_ENTRADA_CONF_P0 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 26.4 | L21_SILO22_RASERA_ENTRADA_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 26.5 | L21_SILO22_RASERA_ENTRADA_CONF_P1 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 26.6 | L21_SILO22_RASERA_ENTRADA_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 26.7 | L21_SILO22_RASERA_ENTRADA_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 27.0 | L21_SILO31_RASERA_ENTRADA_CONF_P0 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 27.1 | L21_SILO31_RASERA_ENTRADA_CONF_CAMBIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 27.2 | L21_SILO31_RASERA_ENTRADA_CONF_P1 | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 27.3 | L21_SILO31_RASERA_ENTRADA_CONF_MANUAL | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 27.4 | L21_SILO31_RASERA_ENTRADA_CONF_FALLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 27.5 | L21_SILO11_CONF_SENSOR_NIVEL_BAJO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 27.6 | L21_SILO11_CONF_SENSOR_NIVEL_ALTO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 27.7 | L21_SILO11_CONF_COMPUERTA_ABRIR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 28.0 | L21_SILO11_CONF_COMPUERTA_CERRADA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 28.1 | L21_SILO12_CONF_SENSOR_NIVEL_BAJO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 28.2 | L21_SILO12_CONF_SENSOR_NIVEL_ALTO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 28.3 | L21_SILO12_CONF_COMPUERTA_ABRIR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 28.4 | L21_SILO12_CONF_COMPUERTA_CERRADA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 28.5 | L21_SILO13_CONF_SENSOR_NIVEL_BAJO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 28.6 | L21_SILO13_CONF_SENSOR_NIVEL_ALTO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 28.7 | L21_SILO13_CONF_COMPUERTA_ABRIR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 29.0 | L21_SILO13_CONF_COMPUERTA_CERRADA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 29.1 | L21_SILO21_CONF_SENSOR_NIVEL_ALTO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 29.2 | L21_SILO21_CONF_SENSOR_NIVEL_MEDIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 29.3 | L21_SILO21_CONF_SENSOR_NIVEL_BAJO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 29.4 | L21_SILO21_RAS_ENTRADA_CONF_ABRIR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 29.5 | L21_SILO21_RAS_ENTRADA_CONF_ABIERTA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 29.6 | L21_SILO21_RAS_ENTRADA_CONF_CERRAR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 29.7 | L21_SILO21_RAS_ENTRADA_CONF_CERRADA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 30.0 | L21_SILO22_CONF_SENSOR_NIVEL_ALTO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 30.1 | L21_SILO22_CONF_SENSOR_NIVEL_MEDIO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 30.2 | L21_SILO22_CONF_SENSOR_NIVEL_BAJO | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 30.3 | L21_SILO22_RAS_ENTRADA_CONF_ABRIR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 30.4 | L21_SILO22_RAS_ENTRADA_CONF_ABIERTA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 30.5 | L21_SILO22_RAS_ENTRADA_CONF_CERRAR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 30.6 | L21_SILO22_RAS_ENTRADA_CONF_CERRADA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 30.7 | L21_TRANS_CADENA_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 31.0 | L21_TRANS_CADENA_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 31.1 | L21_TRANS_CADENA_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 31.2 | L21_TRANS_CADENA_CONF_SENSOR_ATASQUE | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 31.3 | L21_SEP1_MOT1_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 31.4 | L21_SEP1_MOT1_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 31.5 | L21_SEP1_MOT1_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 31.6 | L21_SEP1_MOT2_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 31.7 | L21_SEP1_MOT2_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 32.0 | L21_SEP1_MOT2_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 32.1 | L21_SEP2_MOT1_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 32.2 | L21_SEP2_MOT1_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 32.3 | L21_SEP2_MOT1_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 32.4 | L21_SEP2_MOT2_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 32.5 | L21_SEP2_MOT2_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 32.6 | L21_SEP2_MOT2_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 32.7 | L21_DESCHIN1_MOT1_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 33.0 | L21_DESCHIN1_MOT1_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 33.1 | L21_DESCHIN1_MOT1_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 33.2 | L21_DESCHIN1_MOT2_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 33.3 | L21_DESCHIN1_MOT2_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 33.4 | L21_DESCHIN1_MOT2_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 33.5 | L21_DESCHIN2_MOT1_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 33.6 | L21_DESCHIN2_MOT1_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 33.7 | L21_DESCHIN2_MOT1_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 34.0 | L21_DESCHIN2_MOT2_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 34.1 | L21_DESCHIN2_MOT2_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 34.2 | L21_DESCHIN2_MOT2_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 34.3 | L21_TAR1_EXTRACTOR_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 34.4 | L21_TAR1_EXTRACTOR_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 34.5 | L21_TAR1_EXTRACTOR_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 34.6 | L21_TAR1_VENTILADOR_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 34.7 | L21_TAR1_VENTILADOR_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 35.0 | L21_TAR1_VENTILADOR_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 35.1 | L21_TAR1_CONF_VALV_REJILLA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 35.2 | L21_TAR2_EXTRACTOR_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 35.3 | L21_TAR2_EXTRACTOR_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 35.4 | L21_TAR2_EXTRACTOR_CONF_SALIDA_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 35.5 | L21_TAR2_VENTILADOR_CONF_RETORNO_CONTACTOR | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 35.6 | L21_TAR2_VENTILADOR_CONF_PROTECCION_TERMICA | Boolean | False
Profinet / 1 |  | S7300-CPU315-32-PN/DP,192.168.0.1,102,100,0,5000 | Group 1 | Cycle 1 | M 35.7 | L21_TAR2_VENTILADOR_CONF_SALIDA_CONTACTOR | Boolean | False

## Hostlink
Network Name | Network Info | Network Properties | Station | Group | Cycle | Address | Tag Name | Value Type | Value

## Mewtocol
Network Name | Network Info | Network Properties | Station | Group | Cycle | Address | Tag Name | Value Type | Value